## Medical Supplies
# | Item description | Quantity (unit) / 20,000 casualty
1 | (bag, sterilization) DUST COVER plastic +/-70 x 100cm | 8000
2 | (infusion set) FLOW REGULATOR &extension line +/-50cm st.,s.u (microdrip) | 120000
3 | (laryngocope) BULB, 2.7V, for blade McIntosh 0-4, Miller 2-4 | 800
4 | (laryngocope) BULB, 2.7V, for blade Miller 00-1 | 800
5 | (laryngoscope fiber) BLADE, Miller n°0, new born, reus. | 800
6 | (laryngoscope fiber) BLADE, Miller n°1, baby, reus. | 800
7 | (laryngoscope) BLADE, McIntosh n°2, child, lamp, reus. | 800
8 | (laryngoscope) BLADE, McIntosh n°3, adult small, lamp, reus. | 800
9 | (laryngoscope) BLADE, McIntosh n°4, adult large, lamp, reus. | 800
10 | (tube, endotracheal) GUIDE, size 1, L 45cm, tubes 3.5-4.5 | 16000
11 | (tube, endotracheal) GUIDE, size 2, L 45cm, tubes 4.5-6.0 | 16000
12 | (tube, endotracheal) GUIDE, size 3, L 50cm, tubes from 6.0 | 16000
13 | abdominal pad | 16000
14 | ABS, BRAID. VI, 0 US/3.5 E, 90 cm, n. 1/2-36.4 mm round, 346 | 57600
15 | ABS, BRAID. VI, 1 US/4 E, 90 cm, n. 1/2-39.9 mm round, 359 | 57600
16 | ABS, BRAID. VI, 2 US/5 E, 75 cm, n. 3/8-85 mm r., liver | 19200
17 | ABS, BRAID. VI, 2-0 US/3 E, 90 cm, n. 1/2-25.9 mm round, 243 | 57600
18 | ABS, BRAID. VI, 3-0 US/2 E, 70 cm, n. 1/2-21.8 mm round, 311 | 57600
19 | ABS, BRAID. VI, LIGATURE 0 US/3.5 E, 140 cm, ref. 616 | 57600
20 | ABS, BRAID. VI, LIGATURE 2-0 US/3 E, 140 cm, ref. 615 | 57600
21 | ABS, BRAID. VI, LIGATURE 3-0 US/2 E, 140 cm, ref. 614 | 57600
22 | Sutures Vicryl 0.8mm | 4000
23 | NON ABS, MONO PP, 0 US/3.5 E, 45 cm, n. 3/8-29.9 mm cut,7920 | 28800
24 | NON ABS, MONO PP, 1 US/4 E, 75 cm, n. 3/8-29.9 mm cut | 57600
25 | NON ABS, MONO PP, 2-0 US/3 E, 75 cm, n. 3/8-29.9 mm cut,7697 | 57600
26 | NON ABS, MONO PP, 3-0 US/2 E, 75 cm, n. 3/8-24.3 mm cut,7694 | 28800
27 | NON ABS, M. PP, 5-0 US/1 E, 75 cm, double n. r., vasc., 8710 | 9600
28 | BAG, COLOSTOMY, pre-cut 25-64mm, closed, adhesive, disp. | 80000
29 | BAG, health c.waste, 100 l, thick 60µ, yellow, polyethylene | 120000
30 | BAG, health c.waste,min.100 L & 50µ, yellow, polyethylene | 24000
31 | BAG, URINE, 2 l, w/ tap + non-return valve, graded, sterile | 160000
32 | BANDAGE PADDING, for POP, 10cmx2.7m, viscose 100% | 19200
33 | BANDAGE PADDING, for POP, 15cmx2.7m, viscose 100% | 57600
34 | BANDAGE, ELASTIC, 10 cm x 5 m, constraining | 240000
35 | BANDAGE, ELASTIC, ADHESIVE, textile, 10cmx2.5m | 80000
36 | BANDAGE, ELASTIC, ADHESIVE, textile, 6cmx2.5m | 160000
37 | BANDAGE ELASTIC 4"X 5YD UNSTERILE FLESH COLOR | 160000
38 | BANDAGE ELASTIC 6"X 5YD UNSTERILE FLESH COLOR | 160000
39 | BANDAGE GAUZE ELASTIC 4"X 4M STRETCHED WHITE STERILE | 160000
40 | BANDAGE, GAUZE, 08cmx4m, elastic, non sterile | 240000
41 | BANDAGE, PLASTER OF PARIS, 10 cm x 3 m | 38400
42 | BANDAGE, PLASTER OF PARIS, 15 cm x 3 m | 96000
43 | BANDAGE, TRIANGULAR, 136 x 96 x 96 cm | 40000
44 | Bi Bag (dry bicarbonate concentrate bags, pre-filled) | 40000
45 | BLADE, SCALPEL, No 10, for handle No 3, sterile | 80000
46 | BLADE, SCALPEL, No 11, for handle No 3, sterile | 80000
47 | BLADE, SCALPEL, No 20, for handle No 4, sterile | 80000
48 | Blood strips for HGT | 20000
49 | BODY BAG, U shaped zip bag, white opaq., 2.4x1m, 200micron | 12000
50 | BOWL, ROUND, 100 ml, 80 x 35 mm, stainless steel | 8000
51 | BRUSH, SCRUB, nylon handle, autoclavable | 1600
52 | CATHETER, EMBOLECTOMY, Fogart, F2, sterile, disposable | 800
53 | CATHETER, EMBOLECTOMY, Fogart, F3, sterile, disposable | 1600
54 | CATHETER, EMBOLECTOMY, Fogart, F4, sterile, disposable | 800
55 | CATHETER, EMBOLECTOMY, Fogart, F6, sterile, disposable | 800
56 | CATHETER, URINARY, FOLEY, w/ balloon, CH 08, sterile, disp. | 8000
57 | CATHETER, URINARY, FOLEY, w/ balloon, CH 10, sterile, disp. | 8000
58 | CATHETER, URINARY, FOLEY, w/ balloon, CH 14, sterile, disp. | 16000
59 | CATHETER, URINARY, FOLEY, w/ balloon, CH 16, sterile, disp. | 32000
60 | CATHETER, URINARY, FOLEY, w/ balloon, CH 22, sterile, disp. | 1600
61 | CATHETER, URINARY, FOLEY, w/ballo., CH 12, silic., st., s.u. | 8000
62 | CENTRAL VENOUS CATHETER SET, 2 lumens, CH4-4.5 x 8-10cm | 4000
63 | CENTRAL VENOUS CATHETER SET, 2 lumens, CH5-5.5 x 10-13cm | 4000
64 | CENTRAL VENOUS CATHETER SET, 3 lumens, CH7-7.5 x 15-20cm | 20000
65 | CHLORHEXIDINE DIGLUCONATE 5% , solution, 1L, btl. | 16000
66 | CHLORINE,1000mg (NaDCC 1670mg) multipurpose,1 tab DGR IF>5KG | 480000
67 | Collar, extrication, CARRY bag | 8000
68 | COLLAR, EXTRICATION, size 1, infant, + tracheal opening | 8000
69 | COLLAR, EXTRICATION, size 2, pediatric, + tracheal opening | 8000
70 | COLLAR, EXTRICATION, size 3, adult-no-neck,+ tracheal open. | 8000
71 | COLLAR, EXTRICATION, size 4, adult-short, + tracheal opening | 8000
72 | COLLAR, EXTRICATION, size 5, adult-regular, + tracheal open | 8000
73 | COLLAR, EXTRICATION, size 6, adult-tall, + tracheal opening | 8000
74 | COMPRESS, GAUZE, 10 x 10 cm, 8 plys, 17 thr., ster., 2 pcs | 2000000
75 | COMPRESS, GAUZE, 10 x 20 cm, 12 plys, 17 threads, non-ster. | 1200000
76 | COMPRESS, LAPAROTOMY, +/-40x40cm, X-ray detec,+loop, sterile | 1800000
77 | COMPRESS, PARAFFIN, 10 x 10 cm, sterile | 240000
78 | CONNECTOR, biconical, fits tubing.diam.7-14mm, ster., disp. | 4000
79 | CONTAINER, SAFETY, for used syringes & needles, 5 l | 9600
80 | CONTROL STRIP, TST(T°-steam-time),134°-18min,adhesive | 960000
81 | COTTON WOOL, 1kg, 100% cotton, hydrophilic | 4800
82 | COTTON, UNBLEACHED, 1 kg, carded, for padding | 4000
83 | DETERGENT/DISINFECTANT, Instruments & Equipment, 1L | 8000
84 | DETERGENT/DISINFECTANT,for surfaces, 1L, dosing bottle | 16000
85 | Dialysis Filters | 40000
86 | Digital thermometer | 4000
87 | DRAIN, ABDOMINAL, CH27, 50cm, 5 eyes, silicone, ster., disp. | 8000
88 | DRAIN, CORRUGATED SHEET, 30x12.5cm, silicone, ster., autocl. | 4000
89 | DRAIN, PENROSE, size 3, 10x420mm, sterile, single use | 8000
90 | DRAIN, PENROSE, size 6, 19x420mm, sterile, single use | 8000
91 | DRAIN, THORACIC, CH 16, straight, 50 cm, sterile, disposable | 2400
92 | DRAIN, THORACIC, CH 24, straight, 50 cm, sterile, disposable | 2400
93 | DRAIN, THORACIC, CH 32, straight, 50 cm, sterile, disposable | 4000
94 | DRAIN, THORACIC, CH 36, straight, 50 cm, sterile, disposable | 2400
95 | DRAINAGE, THORACIC, BOTTLE, 2 l, with tubing, sterile, disp. | 12000
96 | DRAPE, SURGICAL, 75 x 90cm, disposable, sterile | 4000
97 | DRESSING FOAM SILICONE 10CMX10CM MEPILEX | 4800
98 | DRESSING WOUND BACTIGRAS 10X10CM | 4800
99 | DRESSING, ADHESIVE BANDAGE, wound plaster, 6cm x 5m, roll | 4800
100 | DRESSING, burn, non-adhesive, sterile, 20 x 30cm | 80000
101 | DRESSING, FIRST AID, ALUMINIZED, 35x45cm, sterile | 16000
102 | ESCHMANN AIRWAY EXCHANGE GUIDE, BUGIE, 15FR, 70cm, s.u | 8000
103 | FILTER, HME+ anti-bact.-vir.99.9%, con.22/15mm, disp. | 40000
104 | FORCEPS, CATH. INTRODUCING, MAGILL, 16cm, child extra small | 800
105 | FORCEPS, CATH. INTRODUCING, MAGILL, 19cm, child small | 800
106 | FORCEPS, CATH. INTRODUCING, MAGILL, 24cm, adult | 800
107 | FORCEPS, DRESSING, BLANK, 14.5 cm, atraumatic serration | 80000
108 | GAUZE SPONGE 4X4" 16PLY 100/PG | 360000
109 | GLASS, PROTECTIVE, plastic, disposable (safety glasses for medical and surgical procedures) | 40000
110 | GLOVE, EXAMINATION, NITRILE, non sterile, large | 400000
111 | GLOVE, EXAMINATION, NITRILE, non sterile, medium (sizes 7 to 8) | 1600000
112 | GLOVE,SURGICAL, sterile | 360000
113 | hand disinfectant btl | 16000
114 | hand soap | 8000
115 | head cover | 80000
116 | HGT machine | 800
117 | INFUSION SET, min. 150cm, with air intake and inj. site | 480000
118 | INFUSION SET, PAEDIATRIC, with burette, and air intake | 20000
119 | IODINE POVIDONE, 10%, solution, 1L, btl. | 40000
120 | IODINE POVIDONE, 7.5%, solution, scrub, 500ml | 24000
121 | Isolation Gown water proof long sleeve | 160000
122 | IV CANNULA, G16, 1.7 x 50 mm, with inj. site, grey, safety | 40000
123 | IV CANNULA, G18, 1.3 x 45 mm, with inj. site, green, safety | 40000
124 | IV CANNULA, G20, 1.1 x 33 mm, with inj. site, pink, safety | 64000
125 | IV CANNULA, G22, 0.9 x 25 mm, with inj. site, blue, safety | 64000
126 | IV CANNULA, G24, 0.7 x 19 mm, yellow, safety | 64000
127 | Large sponges / BD E-Z Scrub 747 sponges | 800
128 | LARYNGOSCOPE ADULT, handle diam. 28 mm,McIntosh blade 2,3,4 | 800
129 | LARYNGOSCOPE BABY McIntosh, handle diam. 19 mm, blade 0,1,2 | 800
130 | LARYNGOSCOPE FIBER, ADULT, McIntosh 2-3-4, Alkaline Battery | 800
131 | LARYNGOSCOPE FIBER, BABY McIntosh 0-1-2, Alkaline Battery | 800
132 | LUBRICATING JELLY, 42 g, tube | 12000
133 | MASK, LARYNGEAL, size 2, child10-25kg, silicone, reus. | 800
134 | MASK, LARYNGEAL, size 2.5, child 25-35kg, silicone, reus. | 800
135 | MASK, LARYNGEAL, size 3, child30-60kg, silicone, reus. | 1600
136 | MASK, LARYNGEAL, size 4, adult50-90kg, silicone, reus. | 1600
137 | MASK, LARYNGEAL, size 5, adult90+ kg, silicone, reus. | 1600
138 | MASK, OXYGEN, ADULT, w/conn.tube+ nose clip+ neck band, dis. | 64000
139 | MASK, OXYGEN, PAEDIATRIC, w/conn.tube+ nose clip+ band, dis. | 16000
140 | MASK, OXYGEN, PAEDIATRIC, w/conn.tube+ nose clip+ band, dis. | 32000
141 | MASK, SURGICAL, standard size, type II, tie-on, single use | 200000
142 | MOUTH GAG, 95 x 27 x 18 mm, blunt-nosed, rubber | 800
143 | Nebuliser mask, adult | 24000
144 | Nebuliser mask, child | 24000
145 | NEEDLE, HYPODERMIC, G21,0.8x40mm,green,IM/IV,st. s.u. safety | 480000
146 | NEEDLE, HYPODERMIC, G21,0.8x40mm,green,IM/IV,st. s.u. safety | 240000
147 | NEEDLE, HYPODERMIC,G18,1.2x 40mm,pink, IV, st. s.u safety, | 400000
148 | NEEDLE, HYPODERMIC,G25, 0.5x25mm,orange,SC/ID,st. s.u.safety | 80000
149 | NEEDLE, SPINAL, G 22, 0.7x75mm, (LP+subarachnoid.ane.), s.u. | 20000
150 | NEEDLE, SPINAL, G 25, 0.5x75mm, (LP+subarachnoid.ane.), s.u. | 20000
151 | NON ABS, M. PP, 5-0 US/1 E, 75 cm, double n. r., vasc., 8710 | 19200
152 | NON ABS, MONO PP, 0 US/3.5 E, 45 cm, n. 3/8-29.9 mm cut,7920 | 57600
153 | NON ABS, MONO PP, 1 US/4 E, 75 cm, n. 3/8-29.9 mm cut | 115200
154 | NON ABS, MONO PP, 2-0 US/3 E, 75 cm, n. 3/8-29.9 mm cut,7697 | 240000
155 | NON ABS, MONO PP, 3-0 US/2 E, 75 cm, n. 3/8-24.3 mm cut,7694 | 120000
156 | OSTOMY Scissors, Curved | 800
157 | plurovac pediatric and adult triple chamber | 8000
158 | POVIDONE IODINE ALFADYNE 10% TOPICAL SOLUTION 120ML ALFA | 0
159 | RAZOR, T-shape handle, w/ comb/blade/protective cap, s.use | 40000
160 | RESUSCITATOR AMBU, 'Mark IV', ADULT, with 1 valve +1 mask 5 | 8000
161 | RESUSCITATOR AMBU, 'Mark IV', BABY w/ paedi valve +1 mask 0A | 8000
162 | SCISSORS, DRESSING, LISTER, 18 cm | 4000
163 | SET, CRICOTHYROIDOTOMY, emergency, complete, sterile, s.u. | 1600
164 | SHEET STERILIZATION, +/-60gr/m2, 120X120cm, non woven | 160000
165 | SPLINT, KRAMER, 08 cm x 80 cm | 16000
166 | SPLINT, KRAMER, 12 cm x 100 cm | 32000
167 | SPLINT, KRAMER, 15 cm x 100 cm | 16000
168 | supra pubic adult | 800
169 | surgical steril gown | 16000
170 | SYRINGE, 10 ml, 2 parts, disposable | 320000
171 | SYRINGE, 100 ml, 3 parts, with catheter and Luer nose | 1600
172 | SYRINGE, 2 ml, 2 parts, disposable | 160000
173 | SYRINGE, 20 ml, 2 parts, disposable | 80000
174 | SYRINGE, 5 ml, 2 parts, disposable | 160000
175 | TAPE, ADHESIVE PAPER, 2.5 cm x 10 m, roll | 24000
176 | TAPE, ADHESIVE PAPER, 5 cm x 10 m, roll | 16000
177 | TAPE, ADHESIVE, NON WOVEN, 10 cm X 10m, roll | 32000
178 | TAPE, AUTOCLAVE, 19mm x 50m | 8000
179 | TOURNIQUET, LATEX, min. 50 cm x 2 cm | 16000
180 | TRANSFER SET, sterile fluids, short spike, botl.up to 100ml | 4000
181 | TRANSFusion set | 40000
182 | TUBE, BLOOD COLLECTION, 4 ml, with EDTA, polystyrene | 20000
183 | TUBE, ENDOTRACHEAL, No 03, without cuff, sterile, disposable | 8000
184 | TUBE, ENDOTRACHEAL, No 04, without cuff, sterile, disposable | 8000
185 | TUBE, ENDOTRACHEAL, No 05, with cuff, sterile, disposable | 8000
186 | TUBE, ENDOTRACHEAL, No 06, with cuff, sterile, disposable | 8000
187 | TUBE, ENDOTRACHEAL, No 07, with cuff, sterile, disposable | 8000
188 | TUBE, ENDOTRACHEAL, No 08, with cuff, sterile, disposable | 8000
189 | TUBE, GASTRIC, CH 10, conical tip, 120cm, sterile, disp. | 4000
190 | TUBE, GASTRIC, CH 14, conical tip, 120cm, sterile, disp. | 20000
191 | TUBE, GASTRIC, CH 16, conical tip, 120cm, sterile, disp. | 8000
192 | TUBE, GUEDEL, airways, No 0 length 50mm, baby | 2400
193 | TUBE, GUEDEL, airways, No 1 length 60mm, child | 2400
194 | TUBE, GUEDEL, airways, No 2 length 70mm, adolescent | 2400
195 | TUBE, GUEDEL, airways, No 3 length 80mm, adult small | 2400
196 | TUBE, GUEDEL, airways, No 4 length 90mm, adult | 2400
197 | TUBE, GUEDEL, airways, No 5 length 100mm, adult large | 2400
198 | TUBE, SUCTION, CH 10, 53 cm, straight, sterile, disposable | 8000
199 | TUBE, SUCTION, CH 12, 51 cm, straight, sterile, disposable | 16000
200 | TUBE, SUCTION, CH 16, 51 cm, straight, sterile, disposable | 16000
201 | TUBE, TRACHEOTOMY, No 06, with cuff, sterile, disposable | 4000
202 | TUBE, TRACHEOTOMY, No 08, with cuff, sterile, disposable | 4000
203 | Under pad | 800000
204 | Single use dressing sets | 200000
205 | Bloodline | dialysis
206 | AV fistula needle | dialysis
207 | bed sheets
208 | PPEs for white phosphorus ( leather gloves amd gown and specila boots